CORPORATION OF THE TOWNSHIP OF JOHNSON

Special Council Meeting Minutes

October 5, 2015

SPECIAL MEETING SESSION

These minutes are comprised of resolutions and the Clerk’s interpretation of the meeting held on Monday, October 5, 2015, at the Township of Johnson Council Community Centre Hall, Desbarats, ON

Presided by:  		Mayor Ted Hicks

PRESENT:

Council:	Councillors –Marlee Hopkins, Lorne Robinson, Cameron Ross, Jason Kern

Staff:	Clerk – Ruth Kelso, Treasurer– Paula Spurway, Public Works Superintendent – Randy Spurway, Arena Manager – Denise Methot

Visitors/Ratepayers:  Cathy Smith, Joan Boychuk, L. Oak, G. Grant

- CALL TO ORDER

Res:  362		Moved by:  J. Kern		Seconded by:  C. Ross

Be it resolved that the Council of the Township of Johnson open this Special Council meeting at 5:30 p.m.  Carried

- CONFLICT OF INTEREST:  None declared

- NEW BUSINESS:

- JTCC – Zamboni Room Repairs

- Councillor L. Robinson - had talked to someone involved with the Sault arenas and that they are going back to non-combustible tanks.  Also if you raise the tanks 18” they would meet the code.  The cost of the tank is $3,800.00.  He will share his contact information for research if someone else wants to find out more.  Why do the work now - TSSA has not brought it up?

- PWS - there is not sufficient room to raise the tanks.  Also, the exhaust fans are beside the tanks and propose a health and safety issue.  The proposed tanks have been installed at the Peewee Arena and are working efficient and should pay for themselves in a short period of time.

- Councillor C. Ross - the option may be to move the tanks outside of the room.  Savings of $5,000.00 with this move.

- Arena Manager did a walk about at the Arena with the Fire Chief – who notified her that a CO Detector is needed in the Zamboni Room.  In the winter – the Zamboni Room exterior door was left open due to the exhaust.  Changes would have to be done prior to the installation of the CO Detector – at present the alarms would go off all the time.

- Travis King has recommended the change of the tanks and exhaust fans prior to starting up of the ice plant

- Councillor J. Kern suggested a solution to the exhaust of the Zamboni, by attaching an exterior fan on the end of the pipe to draw out the exhaust.

- The repairs to the Zamboni room is a “time sensitive” item due to the startup of the ice rental season – October 19, 2015.

Action:  PWS and Arena Manager will research the option brought forward by Councillor Robinson.  The information from this research will be in a form of a report at the October 21st regular Council meeting.

Res:  363		Moved by:  C. Ross			Seconded by: J. Kern

Be it resolved that the Council of the Township of Johnson approves the acceptance of the quote from Henderson Heating & Cooling for the replacement and installation of the “tank less water heater, exhaust fan and QEL CO2 Detector” at the JTCC Zamboni Room, for a price of $8,899.00 plus H.S.T.  Deferred

- OLD BUSINESS:

- Gordon Lake Hall – repairs to south wall.

- Councillor Ross – not to proceed with repairs, not cost effective.  It is a challenge to pay for the operations cost, should divest the building.

- Mayor Hicks – continue to heat until it is sold?

- Councillor Hopkins – sell without the wall repairs?

- Councillor Robinson – regulation change – liability with lack of parking.

- Councillor Kern – get someone to appraise the building.

Res:  364		Moved by:  J. Kern			Seconded by:  M. Hopkins

Be it resolved that the Council of the Township of Johnson approves the repairs to the south wall of the Gordon Lake Hall as laid out in the PWS Report dated July 8, 2015 (attached).  Deferred

Recorded Vote:  Yes – T. Hicks, J. Kern, M. Hopkins        No – C. Ross, L. Robinson

Res:  365		Moved by:  C. Ross			Seconded by:  L. Robinson

Be it resolved that we obtain an opinion from a licenced realtor as to the value of the GLH with a view to subsequent disposal.  Carried

- Canteen Operation at the JTCC.

- Arena Manager – need for canteen is Saturday and Sunday (busiest renter time).  Some during the week,

- Have more ice renter’s committed this year.

- Canteen staff – could overlap during busy times.

- Council commits to run the Canteen until end of December.  At this time – rethink continuing the operation of the Canteen if losing money.

Res:  366		Moved by:  M. Hopkins		Seconded by:  C. Ross

Be it resolved that Council agrees to hire part time workers to operate the JTCC canteen, Friday evenings, Saturday and Sunday for the calendar year of 2015.  Carried

Res:  367		Moved by:  M. Hopkins		Seconded by:  C. Ross

Be it resolved that the Council of the Township of Johnson adjourns this special meeting at 6:19 p.m.  Carried

___________________			          __________________________

Date Adopted						Ted Hicks, Mayor

__________________________

Ruth Kelso, CAO/Clerk